## summary_loads
Prepared by Dr. Joe Costa, Buzzards Bay NEP
Subwatershed Lanuse (values in acres unless specified) | SUB ID | Land+ Estuary Acres | estuary acres | freshwater acres | Land (inc FW) Acres | natural landscp acres | road acres | non-road imperv | non-road imprv roof | non-road imprv parking | pasture acres | cropland+ orchard acres | cranberry acres | golf courses | No. of Buildings (for lawns) | lawn size (sq dt) | Sum of septic units | animal units
Little River | 0 | 1396.3 | 89.12 | 0 | 1307.18 | 1130.3233 | 10.22 | 16.6 | 8.3 | 8.3 | 80.88 | 55.21 | 0 | 1.55 | 108 | 5000 | 108 | 0
Grand Total |  | 1396.3 | 89.12 | 0 | 1307.18 | 1130.3233 | 10.22 | 16.6 | 8.3 | 8.3 | 80.88 | 55.21 | 0 | 1.55 | 108 |  | 108 | 0
per unit=
lbs/acre= |  | 10.66 | 10.66 | 0.45 | 14.67 | 7.34 | 14.67 |  | 4.46 | 9.1 | 20.46 | 23.83 | 9.41 | 14.3871 | 0
Subwatershed Loading (values in lbs unless specified) | SUB ID | precip to estuary load | precip to FW load | natural land scapes | road runoff | roof runoff | parking runoff | total runoff | pasture load | cropland+ orchard load | cranberry load | golf courses | lawns | septic systems | animal units | CSOs and WWTF | unatten lbs loading | NET N Trans | atten lbs loading
Little River | 0 | 950.0192 | 0 | 508.6455 | 149.9274 | 60.922 | 121.761 | 332.6104 | 360.7248 | 502.411 | 0 | 36.9365 | 116.6529 | 1553.8028 | 0 | 0 | 4361.8031 | 1 | 4361.8031
Grand Total (lbs) |  | 950.0192 | 0 | 508.6455 | 149.9274 | 60.922 | 121.761 | 332.6104 | 360.7248 | 502.411 | 0 | 36.9365 | 116.6529 | 1553.8028 | 0 | 0 | 4361.8031 |  | 4361.8031
Unattenuated Subwatershed Loading (lbs) | SUB ID | precip on natural surface | precip runoff | golf courses | agricult. fertilizer | lawn fertilizer | septic systems | Point Sources | unatten total | NET N Trans
Little River | 0 | 1458.6647 | 332.6104 | 36.9365 | 863.1358 | 116.6529 | 1553.8028 | 0 | 4361.8031 | 1
Grand Total (lbs) |  | 1458.6647 | 332.6104 | 36.9365 | 863.1358 | 116.6529 | 1553.8028 | 0 | 4361.8031
Attenuated Subwatershed Loading (lbs) | SUB ID | precip on natural surface | precip runoff | golf courses | agricult. fertilizer | lawn fertilizer | septic systems | attenuated total | % of total
Little River | 0 | 1458.6647 | 332.6104 | 36.9365 | 863.1358 | 116.6529 | 1553.8028 | 4361.8031 | 100%
Grand Total (lbs) |  | 1458.6647 | 332.6104 | 36.9365 | 863.1358 | 116.6529 | 1553.8028 | 4361.8031 | 100%
percent of total |  | 33.44% | 7.626% | 0.8468% | 19.79% | 2.674% | 35.62% | 100%
Average water use | septic load
150 | 29.77%
175 | 33.09%
189.9 | 34.92%
200 | 36.11%
annual precip | total load
47.8 | 41.07%
44.4 | 40.37%
Note on E4: J: Formulas in this column must be array formulas
Note on L4: J: Formulas in this column must be array formulas
Note on M4: J: Formulas in this column must be array formulas. The logical test is for either crop or orchard.
Note on N4: J: Formulas in this column must be array formulas
Note on O4: J: Formulas in this column must be array formulas
Note on A8: J: This row is for display purposes, change values on coefficients tab instead.
Note on Q9: J: Estimates from MEP

## coefficients
|  | MEP Loading Coeeficient |  | The BBNEP has adopted the MEP loading rates in this table.
Category | MassGIS land Use # | (kg/ha unless spec.) | (lb/ac unless spec.) | comments
cranberry bogs | 21 or 23 | 22.93 | 20.46 | MEP assumes 31 lb/ac application and 66% leaching. This value is porportedly expected to change in 2011.
cropland, various (except Pasture) | 1 | 10.2 | 9.1 | MEP assumes 30.33 lb/ac (34 kg/ha) application and 30% leaching. This value may be too low for some types of crops like corn. We include orchards in this category.
Pasture | 2 | 5 | 4.46 | MEP assumes 4.46 lb/ac N application and 100% leaching
Nurseries | inc in 21, or 36 | 5 | 4.46 | Nurseries use fertilizer, and potentially this value may be too low. However, nurseries occupy neglible amounts of land area in any watershed, so the relevance of this coefficient is negligible. |  | mep
Residential fertilized lawns, per 5,000 sq, ft lawn | use parcel data | 1.21 | 1.08 | The original BBNEP loading rate was 3 lbs per lawn effective leaching rate based on assumptions from the early 1990s. Based on interviews on Cape Cod and other studies, the MEP concluded only 5.40 lbs of N were applied on average annually to each 5000 sq ft lawn with 20% leaching to groundwater. | 35.6
Residential lawn fertilizer per acre, effective rate based on use | na | 10.55 | 9.41 | The MEP assumptions result in a loading rate of 9.41 lbs/ac (10.5 Kg/ha),which incorporates an assumption only 1/2 of all lawns are fertilized, hence the lower rate. The original BBNEP method conservatively assumed all lawns were fertilized with a higher application rate.
Golf Courses | 7 | 26.7 | 23.83 | MEP uses different rates for greens, fairways, and roughs, and this value is the average rate for several course, but fertilizer rates can vary slightly from course to course. This value is based on coursewide averages used in several MEP studies.
Spectator Recreation | 8 | 29.29 | 26.136 | Assumes 3.0 lbs per 1000 sq. ft and 20% leaching. Includes Playing fields, parks, school fields, etc. Not generally used by MEP.
Impervious, road run off | 18, and sewered 16 and roads | 16.44 | 14.67 | MEP assumes impervious recharge is 90% of annual precipitation (annual rainfall is watershed specific, see note 2 for MEPvalue) x1.5 ppm N. This rate also applies to driveways and parking areas.
Impervious, roof run off | na | 8.22 | 7.34 | Same assumption as for roads, except nitrogen concentration assumed to be 0.75
Deposition on embayments (SW) and FW ponds | 20 | 11.95 | 10.66 | The BBNEP ignored atmospheric deposition on freshwater ponds, presuming that little reached coastal waters, thus the original BBNEP value is for embayment deposition only. The MEP uses an atmospheric N concentration of 1.09 for both and only 90% of annual precipitation to calculate loading.
Natural Landscapes | 3,4 | 0.5 | 0.45 | Originally the BBNEP ignored this contribution, then in the mid 1990s we adopted the values shown. The BBNEP also assumed no contributions from wetlands. The MEP estimate is for all natural landscapes (whether wetlands or uplands) assumes 27.25 in. annual recharge at a N concentrentartion of 0.072 ppm, the presumed GW background N concentration.
Wastewater load per unit |  | 6.5277 | 14.3871 | The MEP multiples average annual water (less 10% for non-wastewater use), times an assumed groundwater discharge concentration of 26.25 ppm
Notes: 1) Annual precipitation decreases by several inches moving west to east across the Buzzards Bay watershed.
47.8 | = watershed annual precipitation in inches (from draft MEP report; 90% used)= |  |  |  | 47.8 in MEP report
43.02 | = 90% impervious recharge based on precipitation
200 | =residential wateruse (average annual GPD)= |  |  |  | 189.9 is observed
166.6667 | =residential wateruse recharge (average annual GPD)=
16.225 | =Residential wastewater use + 5000 sq foot lawn + runoff from a 1500 ft2 roof and 1500 ft2 driveway=

## MGIS_LU
LU05_DESC | LUCODE | SUM_ACREAG
Brushland/Successional | 40 | 18.9932
Cropland | 1 | 55.2195
ESTUARY | 20 | 85.7578
Forest | 3 | 622.9941
Forested Wetland | 37 | 165.9022
Golf Course | 26 | 1.5495
Low Density Residential | 13 | 49.5478
Medium Density Residential | 12 | 0.0044965
Multi-Family Residential | 10 | 1.3474
Non-Forested Wetland | 4 | 52.1851
Open Land | 6 | 23.8234
Participation Recreation | 7 | 0.00019868
Pasture | 2 | 80.8849
Saltwater Sandy Beach | 25 | 4.4581
Saltwater Wetland | 14 | 187.5075
Transitional | 17 | 0.6698
Urban Public/Institutional | 31 | 0.011155
Very Low Density Residential | 38 | 42.7154
Water | 20 | 2.7388