Storm Water Management Program 

for the 

Town of Compliance, MA

in support of the 

NOTICE OF INTENT

to comply with the

NATIONAL POLLUTANT DISCHARGE ELIMINATION SYSTEM (NPDES)

GENERAL PERMIT FOR STORM WATER DISCHARGES

FROM SMALL MUNICIPAL SEPARATE STORM SEWER SYSTEMS

LOCATED IN THE TOWN OF COMPLIANCE, MASSACHUSETTS

Requested period of Coverage:

March 10, 2003 to March 10, 2008

prepared by the Buzzards Bay Project National Estuary Program

at the request of the Town of Compliance Public Works Department

draft date: March 7, 2003

Phase II Storm Water Management Program Steering Committee

The following individuals developed this Phase II Storm Water Management Program:

Mark Gifford, DPW Director (Phase II Program Coordinator)

Michael J. Hartman, Town Administrator

Charles Gricus, Compliance Planner

Dave Pichette, Agent, Conservation Commission

Robert Ethier, Chairman, Board of Health

Technical support for the development of the Management Plan and Notice of Intent was provided by the Buzzards Bay Project National Estuary Program.

Municipal Information and Discharges

Area of Municipality: 



37.4 square miles

Area of Phase II designated urbanized area:
18.6 square miles

(see Map in Fig. 1)

Plan Coverages and Jurisdictional Areas

This permit application (Notice of Intent or NOI) is a request by the Town of Compliance, Massachusetts for authorization to discharge Storm Water under the National Pollutant Discharge Elimination System in accordance with the provisions of the Clean Water Act, as amended, (33 U.S.C. §1251 et. seq. the Act), as an operator of small municipal separate storm sewer systems (MS4s).

This NOI specifically requests authorization of the discharge of Storm Water from small MS4s as defined at 40 CFR 122.26(b)(16) and designated under 40 CFR 122.32(a)(1) and 40 CFR 122.32(a)(2). The Town of Compliance is not a large or medium MS4 defined in 40 CFR §122.26(b)(4) or (7). Hence, the Town of Compliance is requesting coverage in this permit for only those areas that are located in an urbanized area as determined in the 2000 Decennial Census by the US Bureau of Census; and owned and operated by the Town of Compliance (Figure 1). The urbanized area boundaries of the Town of Compliance are shown in Figure 1. Municipal properties and town owned roads that will be covered under this permit application are shown in Figure 2, and Appendix A. The permit application covers only Storm Water collection systems and networks. It does not include separate storm sewers in discrete areas, such as individual buildings, or discharges covered under other NPDES programs. This permit does not include Storm Water discharges associated with construction activity as defined in 40 CFR§122.26(b)(14)(x) or 40 CFR §122.26(b)(15).

The Town of Compliance has determined that the following discharges are not significant contributors of pollutants to the municipal MS4s, and are considered allowable Non-Storm Water Discharges: 

1. water line flushing,

2. landscape irrigation,

3. diverted stream flows,

4. rising ground waters,

5. uncontaminated ground water infiltration (as defined at 40 CFR 35.2005(20)),

6. uncontaminated pumped ground water,

7. discharge from potable water sources,

8. foundation drains and sump pump discharges,

9. air conditioning condensation,

10. irrigation water, springs,

11. water from crawl space pumps,

12. footing drains, including sump pumps,

13. lawn watering,

14. individual resident car washing,

15. flows from riparian habitats and wetlands,

16. dechlorinated swimming pool discharges,

17. street wash water,

18. residential building wash waters, without detergents, and

19. discharges or flows from fire fighting activities occuring during emergency situations.

Unless explicitly specified otherwise in this Storm Water Management Program plan, all actions proposed to be undertaken exclusively apply to the designated urbanized areas only. Actions taken beyond these geographic bounds are done so at the discretion of the Town of Compliance.

Excluded Areas and Sites

Areas in urbanized boundaries not covered under this permit include state highways Routes 195, 495, 25, 28, and 6, except those discharges connected to any municipal storm drain system where known. It is believed these discharges will be addressed in the Massachusetts Highway Department Stormwater NPDES application.

The town’s, DPW facility, waste transfer station, and wastewater facility are covered under their own multisector general permits (see attached copies of NOIs in Appendix B). Also excluded from this permit are all private roads and private commercial and residential development not connected to municipally owned and operated Storm Water collection and conveyance systems. The list of town roads is shown in Appendix A.

Discharges from any existing Multisector General Permits (MSGP) are excluded from this application. These included Robertson’s Auto Salvage at 2680 Cranberry Highway, and Onset Bay Marina on Green Street.

Figure 1. Phase II Boundaries in Compliance

MS4 Receiving Waters and Known Discharges

The Buzzards Bay Project National Estuary Program has mapped many discharges within the Compliance Urbanized areas, and these are shown in Figure 2. The Buzzards Bay Project acknowledges that this mapped coverage is not complete and definitive, and the Town of Compliance will be improving upon these map coverages during the next 5 years. Table 1 summarizes the number of discharges in each named body on USGS quad coverages. Discharges to surrounding bordering vegetated wetlands to these water bodies were included.

Table 1 shows the category 5 listed impairments on the draft 2002 Massachusetts 303(d) list. The approximate boundaries of the impaired waters is shown in Figure 3. If a water body was not included on the category 5 list, the impairment was listed as “not documented.”

Table 1. Names of all known waters that receive a discharge from the MS4: Only discharges that were town-owned were included. State and other non-municipal discharges were not counted. Water bodies not receiving discharges from the MS4 were not included.  NA is not available, not yet investigated.


Known

Surface Water and surrounding wetlands
Discharges
303(d) listed impairments

Marine and Estuarine Waters

Weweantic River & surrounding wetlands
29 

pathogens (Horseshoe Pond outlet to mouth)

Compliance River Estuary &surrounding wetlands
129 
pathogens (Rt 6 to mouth)

Upper Compliance River Estuary &surrounding wetlands
NA 
(Lower Wankinko section) not documented

Onset Bay & surrounding wetlands
64 
pathogens

Agawam River Estuary
15 
nutrients, pathogens, noxious aquatic plants

Buttermilk Bay & surrounding wetlands
10 
pathogens

Butler Cove
2
not documented

Bourne Cove
2
not documented

Freshwaters Ponds and surrounding Wetlands

Dicks Pond & surrounding wetlands
1 
not documented

Blackmore Reservoir & surrounding wetlands
NA 
not documented

Blackmore Pond & surrounding wetlands
NA 
not documented

Sand Pond & surrounding wetlands
0 
not documented

Sandy Pond & surrounding wetlands
0 
not documented

Spectacle Pond & surrounding wetlands
1 
not documented

Glen Charlie Pond & surrounding wetlands
NA 
not documented

Union Pond & surrounding wetlands
0 
not documented

Mill Pond & surrounding wetlands
6 
not documented

Horseshoe Pond & surrounding wetlands
NA 
not documented

Cedar Pond & surrounding wetlands
0 
not documented

Beaver Dam Pond & surrounding wetlands
8 
not documented

Tremont Mill Pond & surrounding wetlands
0 
not documented

Bartlet Pond & surrounding wetlands
NA 
not documented

Black Jenny Pond & surrounding wetlands
4 
not documented

Pond at 195-495 junction & surrounding wetlands
0 
not documented

White Island Pond & surrounding wetlands
NA 
not documented

Rivers and Streams and surrounding Wetlands

Agawam River & surrounding wetlands
NA 
pathogens

Weweantic River & surrounding wetlands
NA 
above horseshoe pond, not documented

Sippican River & surrounding wetlands
2 
pathogens

Tributary to the Weweantic, So. Compliance and wetlands
NA
not documented

Red Brook and surrounding wetlands
2
not documented

Fearing Hill Area wetlands
NA
not documented

Figure 2. Generalized view of stormwater discharges mapped by the Buzzards Bay Project. A large format detailed map is included in Appendix B.

Figure 3. Water bodies identified in Massachusetts Year 2002 Integrated List of Waters, 303 (d) list. Map should also show Onset bay and Buttermilk Bay.

Compliance with other State Environmental Laws, Regulations, Policies

The Town of Compliance will comply with the Massachusetts Storm Water Management Policy dated March 1997 and applicable Storm Water Performance Standards, as prescribed by state regulations promulgated under the authority of the Massachusetts Clean Waters Act, MGL Chapter 21, SS 23-56, and the Wetlands Protection Act, MGL Chapter 21, S 40. The Town will also comply with the Massachusetts Endangered Species Act [MESA] (MBL c131A and regulations at 321 CMR10.00) and any actions undertaken to comply with this Storm Water permit, shall not result in non-compliance with the MESA. Also, the Town will not conduct activities under this permit that will interfere with implementation of mosquito control work conducted in accordance with Chapter 252 including, Section 5A, and DEP Guideline Number BRP G01-02, West Nile virus Application of Pesticides to Wetland Resource Areas and Buffer Zones, and Public Water Systems.

Priority Resource Areas within the Stormwater Management Program

As part of the stormwater discharge inventory and illicit detection program, the town will identify discharges to the following resource areas as a priority for resource evaluation, mapping, enforcement, and regulatory change where possible. The Town has identified these priority areas:

1. public water supplies

2. public swimming beaches

3. Outstanding Resource Waters (as designated in 314 CMR 4.00)

4. shellfishing areas (open versus closed areas)

5. rivers, ponds, lakes and coastal waters which are on the Department’s 303d list 

of impaired waters.

6. cold water fishery river segments as identified in 314 CMR 4.00

US Endangered Species Criteria have been met

The only known US endangered species documented in the Town of Compliance are piping plover nests located on Stony Point Dike, Long Beach Point, and Little Harbor Beach. No known Storm Water discharges from the town’s urbanized area or any portion of the MS4 Storm Water collection system discharges nears these sites, so we believe we conform with the regulations by the “Criteria A” exclusion described in the October 2002 draft MS4 permit from the US EPA.

Criteria for protection of historic properties have been met.

Two sites in the Town of Compliance are listed as Historic Places on the National Register of Historic Places. They are the Tobey Homestead, at the intersection of Main St. and Sandwich Road near Tobey Hospital, and the Tremont Nail Factory District at 21 Elm Street. Only the Tobey Homestead is in the urbanized area, and the Tremont Nail site does not receive stormwater discharges from the municipal MS4. The Tobey Homestead property has not been documented to be flooded or otherwise adversely impacted by Storm Water discharges. Therefore, all eligibility criteria for historic properties are believed to have been met.

Six Minimum Control Measures

Town of Compliance is proposing to develop, implement and enforce a Storm Water management program by March 10, 2007 to reduce pollutants discharged from municipally owned MS4s to the maximum extent practicable, given available financing and manpower, in order to protect water quality in town. To achieve this goal, the Town of Compliance has developed a five year program consisting of the six required control measures described below. This program will result in the identification of Best Management Practices (BMPs) and measurable goals for the BMPs. Complete implementation of the Town of Compliance’s Storm Water management program is expected to be an ongoing process.

1. Minimum Control Measures for Public Education and Outreach

Goal: The Town of Compliance will implement a public education program to distribute educational materials to the community and conduct equivalent outreach activities about the impacts of Storm Water discharges on water bodies and the steps that the public can take to reduce pollutants in Storm Water runoff, and to better understand and support the town’s efforts.

BMP 1-1: Educational Flyer

The Town will mail a flyer about its Storm Water management program with the fall {tax bills, town census form; water bill} each year. This flyer will also be made available at each of the town’s public libraries and at town hall and will explain what the town is doing to manage Storm Water and to eliminate illicit connections. The flyer will also explain what residents can do, and should not do, to reduce pollutants in Storm Water. This flyer will also invite public participation, and encourage residents to report illicit connections.

Estimated Cost:
$1000 printing, staff in kind services

Responsible Party:
Town Administrator for distribution, DPW Director for flyer development

Frequency:

Annually, each fall

Measurable Goal: 
Flyer prepared and distributed according to timeline

BMP 1-2: Annual Public Hearing

Selectmen will hold a public hearing each spring on the town’s progress in fulfilling its Storm Water management goals and invite public input. The town’s Storm Water Management Committee or its designee will make the presentation.

Estimated Cost:
Staff in kind services

Responsible Party:
Town Administrator for distribution, DPW Director for flyer development

Frequency:

Annually, each fall

Measurable Goal: 
Map prepared and displayed by Fall 2003

BMP 1-3: Posting of Maps

The DPW will post on a display wall at Town Hall a large format map showing all known discharge pipes to waters and wetlands mapped in the community.

Estimated Cost:
Staff in kind services

Responsible Party:
Municipal GIS Coordinator or Planning Department

Frequency:

Annually, each fall

Measurable Goal: 
Meetings advertised and held per schedule

BMP 1-4: Web Page
The town will amend its web page to include a Storm Water management information page containing the same information as the mailed flyer, as well as additional links for users to obtain more information.

Estimated Cost:
Staff in kind services

Responsible Party:
Web page administrator will add flyer text

Frequency:

Spring 2004, reviewed annually, and revised if needed

Measurable Goal: 
Page developed, copies maintained, counter added to document hits.

2. Minimum Control Measures for Public Participation/Involvement

Goal: The town will comply with state, tribal, and local public notice requirements on all meetings related to the Town’s Storm Water Phase II Storm Water Management Program.

BMP 2-1: Encourage Participation and Citizen Actions

In the flyer prepared for BMP 1-1, the town will invite public participation in all events. The flyer will encourage residents to review Storm Water discharge maps posted at Town Hall, and encourage residents to report undocumented discharges. The flyer will also encourage residents to report illicit connections. The flyer will specify that illicit connections can be reported to either the Board of Health or DPW, and specify appropriate phone numbers. Both departments will maintain a complaint log, even for anonymous calls. The log will specify what actions, if any, were taken.

Estimated Cost:
Included in BMP 1-1

Responsible Party:
Included in BMP 1-1

Frequency:

Annually, each fall

Measurable Goal: 
Board of Health and DPW Director maintain a complaint report file

BMP 2-2: Storm Water Management Committee

The Board of Selectmen will establish a municipal Storm Water Management Program Committee to oversee the town’s Phase II program. The committee will be composed of the following town officials: DPW Director, and a representative from the Board of Health, Conservation Commission, Planning Board, building inspector, shellfish warden. The Board of Selectmen will also invite citizen applications and appoint two volunteer residents to the Board. The Committee shall meet twice each year to oversee and revise the Storm Water Management Program as appropriate, and report annually to the selectmen.

Estimated Cost:
Town in-kind staff time

Responsible Party:
Selectmen will appoint, DPW Director will chair the Committee

Frequency:
Committee established in Fall 2003, meets {twice} per year

Measurable Goals: 
Meeting announcements, selectmen, meeting minutes, any revisions or update to Management Program

BMP 2-3: Annual Selectmen’s Meeting Review

At the annual Selectmen’s hearing on the town’s Phase II Storm Water Management Program will, the Selectmen will hear a report from its Storm Water Management Committee. This meeting is broadcast on the local cable access station. It will also invite public input comment at this hearing. Minutes of the meeting will include comments for specific actions. Based on these comments, the Board of Selectmen may recommend specific actions to the DPW Director, Conservation Commission, Board of Health, and Planning Board. Municipal Boards will address any written concerns conveyed to them by the Selectmen at a public meeting.

Estimated Cost:
Staff in kind services

Responsible Party:
Board of Selectmen

Frequency:

Annually, each fall

Measurable Goal: 
Meetings advertised and held per schedule. Minutes of meetings. Any correspondence from Selectmen to Department heads or municipal Boards will be maintained 

3. Minimum Control Measures for Illicit Discharge Detection & Elimination

Goals:

· Develop a storm sewer system map, showing the location of all outfalls and the names and location of all waters.

· Develop, implement and enforce a program to detect and eliminate illicit discharges (as defined at Sec. 122.26(b)(2)) into your small MS4.

· Develop a plan to detect and address non-Storm Water discharges, including illegal dumping into the MS4 (e.g. illicit septic tank overflow pipes into storm drains).

· Prohibit (through an ordinance, etc.) non-Storm Water discharges into the MS4, and establish enforcement procedures.

· Educate of town officials, businesses, and the general public about the hazards associated with illegal discharges and improper disposal of waste.

BMP 3-1: Discharge Identification

The Town of Compliance will use the Buzzards Bay Project’s discharge maps as the starting point for our inventory. These discharge locations will be confirmed, and the town will systematically inventory all other discharge pipes and road cuts from the urbanized area pursuant to this permit. The field survey will be undertaken by the Shellfish Warden and DPW staff using 1:5000 orthophotographs taken to the field. Mapped locations will be transferred onto a GIS database at town hall to produce maps.

In year 1, Compliance River Estuary and surrounding wetlands will be evaluated, in year 2, Weweantic River and Buttermilk Bay and surrounding wetlands will be evaluated, in year 3, Onset Bay and Great Neck area and surrounding wetlands will be evaluated. In year 4, final maps will be prepared and posted. 

Inventory and other actions will be directed first to any priority sites (see above) within these subwatersheds. Draft maps will be posted at Town Hall and at the main library and in educational flyers, the public will be solicited to report discharges that may have been omitted

Estimated Cost:
$400 for in-house printing and supply costs, plus town staff in-kind 

Responsible Party:
DPW Director

Frequency:
Initiated Summer 2003, all areas mapped by 2007

Measurable Goal: 
Posting of draft map by Fall 2003 and production of final maps by Fall 2007.

BMP 3-2: Drainage Network Mapping

As discharges within and from the Urbanized Area are mapped, the contributing drainage areas and catch basins will be mapped based on field observations, road engineering plans, and topographic elevations. The town will systematically inventory drainage areas concurrently with the mapping of Storm Water discharge pipes and road cuts to document every discharge pipe discharging from the Urbanized Area pursuant to this permit. The field survey will be undertaken by the Shellfish Warden and DPW staff using 1:5000 orthophotographs taken to the field. Mapped locations will be transferred onto a GIS database at town hall to produce maps.

The same schedule of inventory and map production specified in BMP 3-1 will be adhered to.

Estimated Cost:
$400 for in-house printing and supply costs, plus town staff in-kind 

Responsible Party:
Shellfish Warden and DPW Director for materials

Frequency:
Initiated Summer 2003, all areas mapped by 2007

Measurable Goal: 
Production of maps as per schedule in 3-1.

BMP 3-3: Illicit Discharge Identification

During surveys as part of BMP 3-1 and 3-2, and other routine work, DPW staff will note whether unusual odors, or non-Storm Water materials are being discharged, or note unusual pipes (e.g. washer machine discharges). Indications of elevated contaminant levels will initiate additional evaluations {smoke testing, dye tablets, storm drain inspections} by DPW and BOH staff to the extent that funds are available. Town staff will also record, and where appropriate, investigate reported illicit connections by the public. The Town will also investigate, where appropriate, pollution sources identified in Massachusetts Division of Marine Fisheries “Shoreline Survey” reports that are prepared every two years for the town with assistance from the Compliance shellfish warden.

Estimated Cost:
$1,000 or more annually depending upon strategy, plus town staff in-kind 

Responsible Party:
DPW Director or Board of Health Agent

Frequency:
Initiated as needed based on reports and observations

Measurable Goal: 
Quantify illicit discharges identified and corrected

BMP 3-4: Illicit Discharge Enforcement

DPW or BOH staff will require elimination of all illegal tie ins to the Storm Water system where known in accordance with existing authorities. The town will review whether existing enforcement authority, police powers, and non-criminal citation mechanisms are in place to ensure adequate enforcement, and to prohibit new non-Storm Water discharges to the storm sewer system.

Estimated Cost:
town staff in-kind 

Responsible Party:
Board of Health

Frequency:
Initiated as needed based on reports and observations

Measurable Goal: 
Quantify illicit discharges identified and corrected or enforcement actions taken.

BMP 3-5: DPW Training

The DPW will hold annual training for DPW staff on identifying illicit and illegal connections 
Estimated Cost:
town staff in-kind 

Responsible Party:
DPW Director

Frequency:
Annually in January.

Measurable Goal: 
meetings held, meeting notes or minutes retained, list of staff participating

BMP 3-6: Public Information on Illicit Connections

Public information flyers in BMP 1-1 will include information about hazards associated with illegal discharges and improper disposal of waste. These flyers will also specify whom to call when illicit discharges are found or observed. Reports from the public will be recorded and investigated when deemed appropriate.

Estimated Cost:
Included in BMP 1-1

Responsible Party:
Included in BMP 1-1

Frequency:

Annually, each fall

Measurable Goal: 
Board of Health and DPW Director maintain a complaint report file

4. Minimum Control Measures for Construction Site Storm Water Runoff Control 

Goal: Develop, implement, and enforce a program to reduce pollutants in any Storm Water runoff to your small MS4 from construction activities that result in a land disturbance of greater than or equal to one acre. The construction site program will have these objectives:

Adequate regulatory mechanism to require erosion and sediment controls, as well as sanctions to ensure Compliance will meet the program goals.

Adequate regulatory requirements for construction site operators to implement appropriate erosion and sediment control (ESC) best management practices; 

Adequate regulatory requirements for construction site operators to control waste such as discarded building materials, concrete truck washout, chemicals, litter, and sanitary waste at the construction site that may cause adverse impacts to water quality; 

Adequate regulatory criteria for subdivision control, site plan review, and special permits that consider water quality and wetland impacts.

These regulatory requirements and the issuance of permits will be undertaken according to Massachusetts public meeting laws.

BMP 4-1. Conservation Commission Bylaw Review and Change

The Conservation Commission will review existing state and local bylaws and regulations to determine if they adequately address the requirements of this permit. If regulatory changes are needed, the Commission will seek town meeting approval to adopt local wetland bylaws, or hold meetings to revise existing regulations to meet Storm Water management program goals.

Estimated Cost:
Town staff in-kind 

Responsible Party:
Conservation Commission

Frequency:
Review complete by March 2004. Propose any recommended Wetland Bylaw changes deemed necessary at each Fall Town meeting until passage. Change existing regulations after necessary public hearings.

Measurable Goal: 
Submission of articles to town meeting if needed.

BMP 4-2. Planning Board Subdivision Regulation Review and Change

The Planning Board will review existing local subdivision regulations to determine if they adequately address the requirements of this permit. If regulatory changes are needed, the planning board will hold public hearings, and amend its subdivision regulations to meet Storm Water management program goals.

Estimated Cost:
Town staff in-kind 

Responsible Party:
Planning Board

Frequency:
Review complete by March 2004. Propose any recommended regulation changes after necessary public hearings.

Measurable Goal: 
Necessary regulation changes made.

BMP 4-3. Planning Board Zoning and Non-Zoning Bylaw Review and Change

The Planning Board will review existing state and local bylaws, zoning and non-zoning, to determine if they adequately address the requirements of this permit. In particular, the Planning Board will review the Site Plan Review Process, and subdivision regulations to determine if regulatory changes are needed, or an additional erosion control bylaw is needed. If required to meet Storm Water Management Program goals, the Planning Board will seek town meeting approval to adopt or amend local zoning or non-zoning bylaws.

Estimated Cost:
Town staff in-kind 

Responsible Party:
Planning Board

Frequency:
Review complete by March 2004. Propose any recommended zoning and non-zoning bylaw changes after necessary public hearings.

Measurable Goal: 
Submission of articles to town meeting if needed.

5. Minimum Control Measures for Post-Construction Storm Water Management in New Development & Redevelopment

Goal: Develop, implement, and enforce a program to address Storm Water runoff from new development and redevelopment projects that disturb greater than or equal to one acre. Address post-construction runoff from new development and redevelopment projects to the extent allowable, and ensure adequate long-term operation and maintenance of BMPs.

{Note: post construction, maintenance, and enforcement and redevelopment will be addressed in BMPs 4-1, 4-2, and 4-3 identified above}

BMP 5-1. Conservation Commission Bylaws

The Conservation Commissions will review existing state and local bylaws and regulations to determine if they adequately address the requirements of this permit. Special consideration will be given to the fact that federal permits and a Stormwater Pollution Prevention Plan must be prepared by any applicant proposing to alter 1 or more acres, even cumulatively. After review of the local regulatory thresholds, if appropriate and needed, the Conservation Commission will seek town meeting approval to adopt or revise the local wetland bylaw, or hold meeting to revise existing regulations to comply with this permit and Storm Water Management Program goals.

Estimated Cost:
Town staff in-kind 

Responsible Party:
Conservation Commission

Frequency:
Review complete by March 2004. Propose any recommended Wetland Bylaw changes deemed necessary at each Fall Town meeting until passage. Change existing regulations after necessary public hearings.

Measurable Goal: 
Submission of articles to town meeting if needed.


BMP 5-2. Planning Board Subdivision Regulations Review and Change

The Planning Board will review existing local subdivision regulations to determine if they adequately address the requirements of this permit. If regulatory changes are needed, the planning board will hold public hearings, and amend its subdivision regulations to meet Storm Water management program goals.

Estimated Cost:
Town staff in-kind 

Responsible Party:
Planning Board

Frequency:
Review complete by March 2004. Propose any recommended regulation changes after necessary public hearings.

Measurable Goal: 
Necessary regulation changes made.

BMP 5-3. Planning Board Zoning and Non-Zoning Bylaws Review and Change

The Planning Board will review existing bylaws and regulations, and if appropriate, will seek town meeting approval for an erosion control bylaw to require stormwater management plans for projects not currently requireing them under subdivision controls, and site plan review.  Projects that might be considered for this requirement include Approval Not Required subdivision of land, and other projects under local regulatory thresholds, but over the federal limit of altering 1 acre of greater for the preparation of a Stormwater Pollution Prevention plan by the applicant. After the Planning Board has reviewed existing state and local bylaws, zoning and non-zoning, to determine if they adequately address the federal requirements of this permit, if appropriate, the Planning Board will seek town meeting approval to adopt or amend local zoning or non-zoning bylaws.

Estimated Cost:
Town staff in-kind 

Responsible Party:
Planning Board

Frequency:
Review complete by March 2004. Propose any recommended zoning and non-zoning bylaw changes after necessary public hearings.

Measurable Goal: 
Submission of articles to town meeting if needed.

6. Minimum Control Measures for Pollution Prevention/Good Housekeeping for Municipal Operations

Goal: Develop and implement an operation and maintenance program that includes a training component and has the ultimate goal of preventing or reducing pollutant runoff from municipal operations. Using available training materials, program will include employee training to prevent and reduce Storm Water pollution from activities such as park and open space maintenance, fleet and building maintenance, new construction and land disturbances, and Storm Water system maintenance.

BMP 6-1: DPW Policy Guide

The DPW will develop a policy guide and details of BMPS and pollution prevention strategies relating for vehicle maintenance, washing, fueling, salt storage, and other pertinent industrial and non-industrial sites, and what to do in the case of accidents and spills.

Estimated Cost:
Town staff in-kind 

Responsible Party:
DPW Director

Frequency:
Document preparation by October 2003.

Measurable Goal: 
Preparation of Policy Guide.

BMP 6-2: DPW Annual Training

The DPW will conduct annual training of applicable municipal staff storm water and pollution prevention policies.

Estimated Cost:
Town staff in-kind 

Responsible Party:
DPW Director

Frequency:
Annual Training sessions each January
Measurable Goal: 
Completion of annual Training, documentation of participation.

BMP 6-3: DPW Permit Filing

The DPW will adhere to Conservation Commission Storm Water treatment performance standards and guidelines when designing new Storm Water treatment systems or during the reconstruction of roads

The DPW will conduct annual training of applicable municipal staff Storm Water and pollution prevention policies…

Estimated Cost:
Town staff in-kind 

Responsible Party:
DPW Director

Frequency:
Permits filed as needed
Measurable Goal: 
Copies of permits on file

Timeline

The timeline for activities under this permit are summarized below.

	Appendix A. Town of Compliance Phase II NPDES Storm Water Program Timeline
	
	
	Transmittal number:
	
	
	
	

	Status Codes: "C"=Complete "R"=Recurring "AR"=As Required
	
	
	
	
	
	
	
	
	Facility ID:
	
	
	
	

	draft 4/7/03
	
	
	
	
	
	
	
	
	
	
	Page 1 of 1
	
	
	
	

	
	
	Quarterly Implementation Schedule/Frequencies 
	
	
	
	
	
	
	
	
	
	

	
	
	2003
	
	
	2004
	
	
	2005
	
	
	2006
	
	
	2007
	
	
	2008

	BMP ID
	BMP
	Q1
	Q2
	Q3
	Q4
	Q1
	Q2
	Q3
	Q4
	Q1
	Q2
	Q3
	Q4
	Q1
	Q2
	Q3
	Q4
	Q1
	Q2
	Q3
	Q4
	Q1
	next permit

	
	Public Education & Outreach
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	1-1
	Educational Flyer
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	

	1-2
	Annual Hearing
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	

	1-3
	Posting of Maps
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	
	
	C
	
	
	
	
	
	

	1-4
	Web Page
	
	
	
	C
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	
	Public Participation/Involvement
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	2-1
	Encourage Participation Citizen Actions
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	

	2-2
	Storm Water Management Committee
	
	R
	
	R
	
	R
	
	R
	
	R
	
	R
	
	R
	
	R
	
	R
	
	R
	
	

	2-3
	Selectmen's Meeting Review
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	

	
	Illicit Discharge Detection/Elimination
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	3-1
	Discharge Identification
	
	R
	R
	R
	R
	R
	R
	R
	R
	R
	R
	C
	
	
	
	
	
	
	
	
	
	

	3-2
	Drainage Network Mapping
	
	
	R
	R
	R
	R
	R
	R
	R
	R
	R
	R
	R
	R
	R
	C
	
	
	
	
	
	

	3-3
	Illicit Discharge Identification
	
	
	R
	R
	R
	R
	R
	R
	R
	R
	R
	R
	R
	R
	R
	R
	R
	R
	R
	R
	R
	

	3-4
	Illicit Discharge Enforcement
	
	
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	

	3-5
	DPW Training
	
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	
	
	R
	

	3-6
	Public Information on Illicit Connection
	
	
	R
	AR
	AR
	AR
	R
	R
	AR
	AR
	AR
	R
	R
	AR
	AR
	AR
	R
	R
	AR
	AR
	AR
	

	
	Construction Site Storm Water Control
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	4-1
	Con Comm. Bylaws/Regs Review/Change
	
	C
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	

	4-2
	Planning B. Subdivision Reg Review/Change
	
	C
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	

	4-3
	Planning B. Zoning/NonZ Reg Review/Change
	
	C
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	

	
	Post Construction Site Storm Water Control
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	5-1
	Con Comm. Bylaws/Regs Review/Change
	
	C
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	

	5-2
	Planning B. Subdivision Reg Review/Change
	
	C
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	

	5-3
	Planning B. Zoning/NonZ Reg Review/Change
	
	C
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	
	AR
	
	
	

	
	Pollution Prevention/Good Housekeeping
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	6-1
	DPW Policy Guide
	
	
	C
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	6-2
	DPW Annual Training
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	
	
	R
	
	

	6-3
	DPW Permit Filing
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	AR
	


Appendix A:

Town of Compliance List of All Town Streets

Appendix B:

Large Format Map of Known Stormwater Discharges

PAGE  
7

